## Slide 1
ARIA
CT Sim
Linac
Brachy
Ortho
AD DC
Firewall
DNS
Cerner
Veeam
Backup Repo 01 Immutable
Backup Repo 02
Immutable
Backup Repo 03
Cloud Based
Emergency Preparedness System Behind Firewall
RT-DP Data Helper
SQL Query
DICOM for File Mode Treatment
Files: Doc, DCM
Backup and Replication
ARIA Replication
Faked I: Drive
1
2
3.a
3.b
3.c
4

## Slide 2
ARIA DB
VMSDBD
File Server
Data Helper
Patient List and Info
Questionnaires and Journal
RP/CT/RS/RI SeriesUID
Files and Locations
DICOM RP/CT/RS/RI
Doc and DICOM Files
Firewall
ARIA System
1.a
1.b
1.c
1.d
2
3.a
3.c
4
3.b
Isolated RT Emergency Preparedness Module
RT-DP data retrieving illustration. After NIC enabled at scheduled time, 1.a-1.d: SQL queries of Aria DB; 2: DICOM C-MOVE based on SeriesUID queried from step 1.c; 3.a: files copy request based on the result of 1.d; 3.b: file copy from RT file/image server; 3.c: file copy from data helper; 4: send a copy of files from all previous steps to data helper. NIC will be disabled after all steps.

## Slide 3
CBCT Recon WS
Treat Console WS
IRM WS
Service WS
Imaging Network Switch
Console Network Switch
Juniper
TrueBeam  Servers Switch/Router
Supporting WS
I: Drive Server
RT-DP Data Query and Storage
TrueBeam 2.x
RT-DP Tx Module for TB 2.x
Linac vLan
Server vLan
Copy to

## Slide 4
CBCT Recon WS
Treat Console WS
IRM WS
Service WS
Imaging Network Switch
Console Network Switch
Juniper
Physical Switch
Supporting WS
VA_TRANSFER SMB Svr (I: Drive)
RT-DP Data Query and Storage
TrueBeam
RT-DP Tx Module for All Linacs including TB 3.x/4.x
Linac vLan
Server vLan
Copy to
Virtual Firewall Switch
AD DC
VSP
ARIA DB
IMG
DCM
DCF
FAS
Eclipse
Virtual Environment

## Slide 5
A. Data Required for Emergency Treatment
Patient Queries:
Patients with RPR in the last two months
Patients have CTSim done in the last two weeks
Patients have RT Plan Reviewed and Approved in the last two weeks
Patients received treatment today
Patients have treatment scheduled for the next 7 days
RPR Info (Questionnaires)
Quick Notes: setup info, treatment notes, physician orders etc. (Journal)
Prescription
Patient demographics, contacts, and health insurance info
Data Moving: Patient Scheduled for the next 7 days:
Files for DICOM RT mode treatment: DICOM CT, RP, RS, RI
Other DICOM files: Tx Records, RGSC Motion Tracking
Patient documents: CTSim/planning notes, QA doc etc.

## Slide 6
B. DICOM RT Mode -- TrueBeam
To use File Mode the following is required:
DICOM Plan files uploaded to the I: drive. These must have been exported from the OIS in advance
Access to the network I: drive (in order to access Patient DICOM files) from the TrueBeam
Access to OSP/VSP for User Rights
  If OSP is offline, credentials are held / cached locally on the TrueBeam for 5 days
If the network is down (1), or there is no connectivity to the I: drive (2), or the DICOM Plan files were not exported from the OIS system in advance (3), then there is no workaround to treat patients on the TrueBeam
File Mode Has Some Risks, such as the potential to treat the wrong patient, wrong anatomy or wrong field, if care is not taken

## Slide 7
C. RT-DP on GitHub [https://github.com/lixinzhan/RT-DP]